## Consumption
|  | Installed | Draw | Voltage | Power | Usage Anchor | Usage Marina | Usage Passage | Wh Anchor | Wh Marina | Wh Passage | Usage Mean | Wh Mean
Systems
| Freshwater pump | X | 11 | 12.8 | 140.8 | 0.2 | 0.3 | 0.2 | 28.16 | 42.24 | 28.16 | 0.5 | 70.4
| Bilge pump | X | 5 | 12.8 | 64 | 0.1 | 0.1 | 0.1 | 6.4 | 6.4 | 6.4 | 1 | 64
| Watermaker | X | 12 | 12.8 | 153.6 | 1 | 0 | 1 | 153.6 | 0 | 153.6 | 4 | 614.4
| Toilet pump | N | 10 | 12.8 | 128 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 1 | 128
| Windlass | X | 100 | 12.8 | 1280 | 0.1 | 0 | 0 | 128 | 0 | 0 | 1 | 1280
| Inverter Standby | X | 1 | 12.8 | 12.8 | 1 | 1 | 1 | 12.8 | 12.8 | 12.8 | 24 | 307.2
| Electrical System Standby | X | 1 | 12.8 | 12.8 | 24 | 24 | 24 | 307.2 | 307.2 | 307.2 | 24 | 307.2
| System Monitoring | X | 0.5 | 12.8 | 6.4 | 24 | 24 | 24 | 153.6 | 153.6 | 153.6 | 24 | 153.6
Lights
| Anchor Light | X | 0.3 | 12.8 | 3.84 | 12 | 0 | 0 | 46.08 | 0 | 0 | 14 | 53.76
| Interior lights | X | 2 | 12.8 | 25.6 | 5 | 5 | 2 | 128 | 128 | 51.2 | 12 | 307.2
| Spreader/Deck Lights | X | 1 | 12.8 | 12.8 | 0.25 | 0 | 0 | 3.2 | 0 | 0 | 4 | 51.2
| Navigation Lights | X | 1.5 | 12.8 | 19.2 | 0 | 0 | 12 | 0 | 0 | 230.4 | 14 | 268.8
0
Galley | [12 empty] | 0
| Fridge | X | 6 | 12.8 | 76.8 | 12 | 12 | 12 | 921.6 | 921.6 | 921.6 | 12 | 921.6
| Freezer | X | 6 | 12.8 | 76.8 | 18 | 18 | 18 | 1382.4 | 1382.4 | 1382.4 | 18 | 1382.4
| Propane Selenoid | X | 1.5 | 12.8 | 19.2 | 2 | 2 | 2 | 38.4 | 38.4 | 38.4 | 4 | 76.8 | 3309.44 | 2992.64 | 3285.76
Charging
| Navigation Phone/Tablet Charging | X | 1.2 | 12.8 | 15.36 | 1 | 1 | 1 | 15.36 | 15.36 | 15.36 | 2 | 30.72
| Power Tools Charging | X | 5 | 12.8 | 64 | 1 | 1 | 1 | 64 | 64 | 64 | 2 | 128
Convinience
| Stereo | X | 2 | 12.8 | 25.6 | 2 | 1 | 4 | 51.2 | 25.6 | 102.4 | 5 | 128
| Dry Cabinet | X | 0.6 | 12.8 | 7.68 | 12 | 12 | 12 | 92.16 | 92.16 | 92.16 | 12 | 92.16
Navigation
| Navigation Computer | X | 0.6 | 12.8 | 7.68 | 24 | 24 | 24 | 184.32 | 184.32 | 184.32 | 24 | 184.32
| Navigation Computer Monitor | X | 2 | 12.8 | 25.6 | 1 | 1 | 6 | 25.6 | 25.6 | 153.6 | 24 | 614.4
| Autopilot (moderate to heavy conditions) | X | 8 | 12.8 | 102.4 | 0 | 0 | 24 | 0 | 0 | 2457.6 | 24 | 2457.6
| GPS | X | 0.2 | 12.8 | 2.56 | 24 | 0 | 24 | 61.44 | 0 | 61.44 | 24 | 61.44
| VHF radio (tx) | X | 5 | 12.8 | 64 | 0 | 0 | 0.1 | 0 | 0 | 6.4 | 1 | 64
| VHF radio (rx) | X | 0.5 | 12.8 | 6.4 | 2 | 0 | 24 | 12.8 | 0 | 153.6 | 24 | 153.6
| Chart plotter Helm | X | 1.5 | 12.8 | 19.2 | 0 | 0 | 24 | 0 | 0 | 460.8 | 24 | 460.8
| Chart plotter Navtable | X | 1.5 | 12.8 | 19.2 | 2 | 0 | 24 | 38.4 | 0 | 460.8 | 24 | 460.8
| Wind Instrument Helm | X | 0.5 | 12.8 | 6.4 | 3 | 0 | 24 | 19.2 | 0 | 153.6 | 24 | 153.6
| Radar (Device Only) | X | 3.2 | 12.8 | 40.96 | 1 | 0 | 24 | 40.96 | 0 | 983.04 | 24 | 983.04
| Depth Sounder / Instrument Helm | X | 0.4 | 12.8 | 5.12 | 24 | 0 | 24 | 122.88 | 0 | 122.88 | 24 | 122.88
| AIS (Blackbox) | X | 0.5 | 12.8 | 6.4 | 0 | 0 | 24 | 0 | 0 | 153.6 | 24 | 153.6
| Anchor Alarm | X | 0.5 | 12.8 | 6.4 | 12 | 0 | 0 | 76.8 | 0 | 0 | 24 | 153.6 | 582.4 | 209.92 | 5351.68
Computer
| Wifi | X | 0.3 | 12.8 | 3.84 | 24 | 24 | 24 | 92.16 | 92.16 | 92.16 | 24 | 92.16
| Starlink | X | 8 | 12.8 | 102.4 | 12 | 16 | 2 | 1228.8 | 1638.4 | 204.8 | 16 | 1638.4
| Work Computer Working | X | 1.5 | 12.8 | 19.2 | 10 | 10 | 1 | 192 | 192 | 19.2 | 10 | 192
| Work Computer Standby | X | 0.5 | 12.8 | 6.4 | 4 | 4 | 0 | 25.6 | 25.6 | 0 | 4 | 25.6
| Monitor 1 On | X | 3.5 | 12.8 | 44.8 | 10 | 10 | 1 | 448 | 448 | 44.8 | 10 | 448
| Monitor 1 Standby | X | 0.04 | 12.8 | 0.512 | 4 | 4 | 0 | 2.048 | 2.048 | 0 | 4 | 2.048
| Monitor 2 On | X | 3 | 12.8 | 38.4 | 10 | 10 | 0 | 384 | 384 | 0 | 10 | 384
| Monitor 2 Standby | X | 0.04 | 12.8 | 0.512 | 4 | 4 | 0 | 2.048 | 2.048 | 0 | 4 | 2.048
| Monitor 3 On | N | 5 | 12.8 | 64 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | 640
| Monitor 3 Standby | N | 0.1 | 12.8 | 1.28 | 4 | 4 | 4 | 0 | 0 | 0 | 4 | 5.12 | 2374.656 | 2784.256 | 360.96
Skipper
| Phone Charging | X | 1.2 | 12.8 | 15.36 | 1 | 1 | 1 | 15.36 | 15.36 | 15.36 | 1 | 15.36
| Laptop Charging | X | 4 | 12.8 | 51.2 | 0.5 | 0.5 | 0.5 | 25.6 | 25.6 | 25.6 | 1 | 51.2
| Fans | X | 1.25 | 12.8 | 16 | 20 | 20 | 12 | 320 | 320 | 192 | 20 | 320
Crew | 3
| Phone Charging | X | 1.2 | 12.8 | 46.08 | 1 | 1 | 1 | 46.08 | 46.08 | 46.08 | 0 | 0
| Laptop Charging | X | 4 | 12.8 | 153.6 | 0.5 | 0.5 | 0.5 | 76.8 | 76.8 | 76.8 | 0 | 0
| Fans | X | 1.25 | 12.8 | 48 | 16 | 16 | 12 | 768 | 768 | 576 | 0 | 0
AC Loads
| Blender | X | 78.125 | 240 | 1000 | 0.03 | 0.03 | 0 | 30 | 30 | 0 | 0.03 | 30
| Microwave | X | 62.5 | 240 | 800 | 0.1 | 0.1 | 0.2 | 80 | 80 | 160 | 0.5 | 400
| Induction Stove | N | 140.625 | 240 | 1800 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 1 | 1800
[9 empty] | 7851.056 | 7545.776 | 10364.16 |  | 18435.056

## Generation
| Max Output | Nominal Output | Runtime per day |  |  |  | Wh per day | Version 1 (Solar and Engine Only) | Max Amps From Device 12V
|  |  | 10% | 30% | 50% | 90%
Solar Panels | 2150 | 1900 | 1 | 2 | 4 | 3
|  |  | 190 | 1140 | 3800 | 5130 | 10260 | 10260 | 167.9688
Engine with 170A Alternator | 2560 | 1850 | 0 |  |  |  | 0 | 0 | 200
Engine Starter Alternator via DC/DC Charger | 600 | 600 | 0 |  |  |  | 0 | 0 | 46.875
Generator/Charger | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
Shorepower/Charger | 1540 | 1540 | 0 |  |  |  | 0 | 0 | 120.3125
Wind Generator | 0 | 0 | 10 | 6 | 2 | 0.1
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 10260 | 535.1562
DIVAA |  |  | 10% | 30% | 50% | 90%
Solar Panels | 1100 | 900 | 1 | 2 | 4 | 3
|  |  | 90 | 540 | 1800 | 2430 | 4860 | 4860 | 85.9375
Engine Alternator | 1600 | 1200 | 1 |  |  |  | 1200 | 1200 | 125
Engine Starter Alternator via DC/DC Charger | 600 | 400 | 1 |  |  |  | 400 | 400 | 46.875
Generator/Charger | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
Shorepower/Charger | 800 | 800 | 0 |  |  |  | 0 | 0 | 62.5
Wind Generator | 0 | 0 | 10 | 6 | 2 | 0.1
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 6460 | 320.3125

## Battery
Target Wh | 10000
| Voltage | Ah | Weight Per Cell | Amps Per Battery Charge/Discharge | Cells Per Battery | Price Per Cell | Price Per Naked Battery | Price BMS / Material | Price Per Battery Total | Price Installation Material | Wh Per Battery | #Batteries | Wh Total | Price Installation | Price/kWh | Weight Total | Max Watts Charging/Discharging
12V 280-EVE, 200A BMS | 12.8 | 280 | 5.4 | 200 | 4 | 105 | 420 | 200 | 620 | 100 | 3584 | 3 | 10752 | 1960 | 182.2917 | 64.8 | 7680
12V 100-EVE, 100A BMS | 12.8 | 100 | 2 | 100 | 4 | 39 | 156 | 50 | 206 | 100 | 1280 | 8 | 10240 | 1748 | 170.7031 | 64 | 10240
24V 280-EVE, 200A BMS | 25.6 | 230 | 4.1 | 200 | 8 | 105 | 840 | 200 | 1040 | 100 | 5888 | 2 | 11776 | 2180 | 185.1223 | 65.6 | 10240
48V 280-EVE, 200A BMS | 51.2 | 280 | 5.4 | 200 | 16 | 100 | 1600 | 350 | 1950 | 100 | 14336 | 1 | 14336 | 2050 | 142.9967 | 86.4 | 10240
48V 105-EVE, 100A BMS | 51.2 | 105 | 2 | 100 | 16 | 39 | 624 | 200 | 824 | 100 | 5376 | 2 | 10752 | 1748 | 162.5744 | 64 | 10240
LiTime 12V 460Ah | 12.8 | 460 | 39.5 | 250 |  |  |  |  | 1500 | 100 | 5888 | 2 | 11776 | 3100 | 263.2473 | 79 | 6400
LiTime 12V 230Ah | 12.8 | 230 | 20.5 | 200 |  |  |  |  | 650 | 150 | 2944 | 4 | 11776 | 2750 | 233.5258 | 82 | 10240
LiTime 12V 100Ah | 12.8 | 100 | 11 | 100 |  |  |  |  | 270 | 200 | 1280 | 8 | 10240 | 2360 | 230.4688 | 88 | 10240
LiTime 24V 230Ah | 25.6 | 230 | 43 | 200 |  |  |  |  | 1340 | 100 | 5888 | 2 | 11776 | 2780 | 236.0734 | 86 | 10240
LiTime 48V 100Ah | 51.2 | 100 | 44 | 100 |  |  |  |  | 1600 | 100 | 5120 | 2 | 10240 | 3300 | 322.2656 | 88 | 10240

## DIVAA
|  | Installed | Draw | Voltage | Power | Usage Anchor | Usage Marina | Usage Passage | Wh Anchor | Wh Marina | Wh Passage | Usage Mean | Wh Mean
Systems
| Freshwater pump | X | 11 | 12.8 | 140.8 | 0.2 | 0.3 | 0.2 | 28.16 | 42.24 | 28.16 | 0.5 | 70.4
| Bilge pump | X | 5 | 12.8 | 64 | 0.1 | 0.1 | 0.1 | 6.4 | 6.4 | 6.4 | 1 | 64
| Watermaker | N | 12 | 12.8 | 153.6 | 1 | 0 | 1 | 0 | 0 | 0 | 4 | 614.4
| Toilet pump | N | 10 | 12.8 | 128 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 1 | 128
| Windlass | X | 100 | 12.8 | 1280 | 0.1 | 0 | 0 | 128 | 0 | 0 | 1 | 1280
| Inverter Standby | X | 1 | 12.8 | 12.8 | 1 | 1 | 1 | 12.8 | 12.8 | 12.8 | 24 | 307.2
| Electrical System Standby | X | 0.5 | 12.8 | 6.4 | 24 | 24 | 24 | 153.6 | 153.6 | 153.6 | 24 | 153.6
| System Monitoring | N | 0.5 | 12.8 | 6.4 | 24 | 24 | 24 | 0 | 0 | 0 | 24 | 153.6
Lights
| Anchor Light | X | 0.3 | 12.8 | 3.84 | 12 | 0 | 0 | 46.08 | 0 | 0 | 14 | 53.76
| Interior lights | X | 2 | 12.8 | 25.6 | 5 | 5 | 2 | 128 | 128 | 51.2 | 12 | 307.2
| Spreader/Deck Lights | N | 1 | 12.8 | 12.8 | 0.25 | 0 | 0 | 0 | 0 | 0 | 4 | 51.2
| Navigation Lights | X | 1.5 | 12.8 | 19.2 | 0 | 0 | 12 | 0 | 0 | 230.4 | 14 | 268.8
0
Galley | [12 empty] | 0
| Fridge | X | 4 | 12.8 | 51.2 | 12 | 12 | 12 | 614.4 | 614.4 | 614.4 | 12 | 614.4
| Freezer | X | 4 | 12.8 | 51.2 | 18 | 18 | 18 | 921.6 | 921.6 | 921.6 | 18 | 921.6
| Propane Selenoid | X | 1.5 | 12.8 | 19.2 | 2 | 2 | 2 | 38.4 | 38.4 | 38.4 | 4 | 76.8 | 2077.44 | 1917.44 | 2056.96
Charging
| Navigation Phone/Tablet Charging | X | 1.2 | 12.8 | 15.36 | 1 | 1 | 1 | 15.36 | 15.36 | 15.36 | 2 | 30.72
| Power Tools Charging | X | 5 | 12.8 | 64 | 0.5 | 0.5 | 0.5 | 32 | 32 | 32 | 2 | 128
Convinience
| Stereo | X | 2 | 12.8 | 25.6 | 1 | 1 | 4 | 25.6 | 25.6 | 102.4 | 5 | 128
| Dry Cabinet | N | 0.6 | 12.8 | 7.68 | 12 | 12 | 12 | 0 | 0 | 0 | 12 | 92.16
Navigation
| Navigation Computer | N | 0.6 | 12.8 | 7.68 | 24 | 24 | 24 | 0 | 0 | 0 | 24 | 184.32
| Navigation Computer Monitor | N | 2 | 12.8 | 25.6 | 1 | 1 | 6 | 0 | 0 | 0 | 24 | 614.4
| Autopilot (moderate to heavy conditions) | X | 8 | 12.8 | 102.4 | 0 | 0 | 24 | 0 | 0 | 2457.6 | 24 | 2457.6
| GPS | X | 0.2 | 12.8 | 2.56 | 24 | 0 | 24 | 61.44 | 0 | 61.44 | 24 | 61.44
| VHF radio (tx) | X | 5 | 12.8 | 64 | 0 | 0 | 0.1 | 0 | 0 | 6.4 | 1 | 64
| VHF radio (rx) | X | 0.5 | 12.8 | 6.4 | 2 | 0 | 24 | 12.8 | 0 | 153.6 | 24 | 153.6
| Chart plotter Helm | X | 1.5 | 12.8 | 19.2 | 0 | 0 | 24 | 0 | 0 | 460.8 | 24 | 460.8
| Chart plotter Navtable | X | 1.5 | 12.8 | 19.2 | 2 | 0 | 24 | 38.4 | 0 | 460.8 | 24 | 460.8
| Wind Instrument Helm | X | 0.5 | 12.8 | 6.4 | 3 | 0 | 24 | 19.2 | 0 | 153.6 | 24 | 153.6
| Radar (Device Only) | N | 3.2 | 12.8 | 40.96 | 1 | 0 | 24 | 0 | 0 | 0 | 24 | 983.04
| Depth Sounder / Instrument Helm | X | 0.4 | 12.8 | 5.12 | 1 | 0 | 24 | 5.12 | 0 | 122.88 | 24 | 122.88
| AIS (Blackbox) | X | 0.5 | 12.8 | 6.4 | 0 | 0 | 24 | 0 | 0 | 153.6 | 24 | 153.6
| Anchor Alarm | X | 0.5 | 12.8 | 6.4 | 12 | 0 | 0 | 76.8 | 0 | 0 | 24 | 153.6 | 213.76 | 0 | 4030.72
Computer
| Wifi | X | 0.3 | 12.8 | 3.84 | 24 | 24 | 24 | 92.16 | 92.16 | 92.16 | 24 | 92.16
| Starlink | X | 8 | 12.8 | 102.4 | 8 | 24 | 2 | 819.2 | 2457.6 | 204.8 | 16 | 1638.4
| Work Computer Working | X | 1.5 | 12.8 | 19.2 | 8 | 10 | 1 | 153.6 | 192 | 19.2 | 10 | 192
| Work Computer Standby | X | 0.5 | 12.8 | 6.4 | 4 | 4 | 0 | 25.6 | 25.6 | 0 | 4 | 25.6
| Monitor 1 On | X | 7 | 12.8 | 89.6 | 10 | 10 | 1 | 896 | 896 | 89.6 | 10 | 896
| Monitor 1 Standby | X | 0.1 | 12.8 | 1.28 | 4 | 4 | 0 | 5.12 | 5.12 | 0 | 4 | 5.12
| Monitor 2 On | X | 7 | 12.8 | 89.6 | 10 | 10 | 0 | 896 | 896 | 0 | 10 | 896
| Monitor 2 Standby | X | 0.1 | 12.8 | 1.28 | 4 | 4 | 0 | 5.12 | 5.12 | 0 | 4 | 5.12
| Monitor 3 On | N | 5 | 12.8 | 64 | 10 | 10 | 0 | 0 | 0 | 0 | 10 | 640
| Monitor 3 Standby | N | 0.1 | 12.8 | 1.28 | 4 | 4 | 4 | 0 | 0 | 0 | 4 | 5.12 | 2892.8 | 4569.6 | 405.76
Skipper
| Phone Charging | X | 1.2 | 12.8 | 15.36 | 1 | 1 | 1 | 15.36 | 15.36 | 15.36 | 1 | 15.36
| Laptop Charging | X | 4 | 12.8 | 51.2 | 0.5 | 0.5 | 0.5 | 25.6 | 25.6 | 25.6 | 1 | 51.2
| Fans | X | 1.25 | 12.8 | 16 | 20 | 20 | 12 | 320 | 320 | 192 | 20 | 320
Crew | 3
| Phone Charging | N | 1.2 | 12.8 | 46.08 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| Laptop Charging | N | 4 | 12.8 | 153.6 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0
| Fans | N | 1.25 | 12.8 | 48 | 16 | 16 | 12 | 0 | 0 | 0 | 0 | 0
AC Loads
| Blender | X | 78.125 | 240 | 1000 | 0.03 | 0.03 | 0 | 30 | 30 | 0 | 0.03 | 30
| Microwave | N | 62.5 | 240 | 800 | 0.1 | 0.1 | 0.2 | 0 | 0 | 0 | 0.5 | 400
| Induction Stove | N | 140.625 | 240 | 1800 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 1 | 1800
[9 empty] | 5647.92 | 6950.96 | 6876.16 |  | 18479.6